	INSTRUMENT IDENTIFICATION

	FIRST LETTER
	SUCCEEDING LETTERS

	MEASURED  OR INITIATING VARIABLE
	MODIFIER
	READOUT OR

PASSIVE FUNCTION
	OUTPUT

FUNCTCION
	MODIFIER

	A
	Analysis
	
	Alarm
	
	

	B
	Burner, Combustion
	
	User=s choice
	Users choice
	User=s choice

	C
	User=s choice
	
	
	Control
	Closed

	D
	User=s choice
	Differential
	
	
	

	E
	Voltage
	
	Sensor, primary element
	
	

	F
	Flow
	Ratio (fraction)
	
	
	

	G
	Users Choice
	
	Glass, Viewing device
	
	

	H
	Hand
	
	
	
	High

	I
	Current (amps)
	
	Indicate
	
	

	J
	Power
	Scan
	
	
	

	K
	Time, Time Schedule
	Time, Rate of Change
	
	Control Station
	

	L
	Level
	
	Light
	
	Low

	M
	Users Choice
	Momentary
	
	
	Middle, intermediate

	N
	User=s Choice
	
	User=s choice
	User=s choice
	User=s choice

	O
	User=s Choice
	
	Orfice, Restriction
	
	Open

	P
	Pressure, Vacuum
	
	Test Point
	
	

	Q
	Quantity
	Integrate, Totalize
	
	
	

	R
	Radiation
	
	Record
	
	

	S
	Speed, Frequency
	Safety
	
	Switch
	

	T
	Temperature
	
	
	Transmit
	

	U
	Multivariable
	
	Multifunction
	Multifunction
	Multifunction

	V
	Vibration, Mechanical Analysis
	
	
	Valve, Damper, Louver
	

	W
	Weight, Force, Tension
	
	Well
	
	

	X
	Unclassified
	X-Axis
	Unclassified
	Unclassified
	Unclassified

	Y
	Event, State, or Presence
	Y-Axis
	
	Relay, compute, convert
	

	Z
	Position, Dimension
	Z-Axis
	
	Driver, actuator, Unclassified final control element
	


