RZ480T项目集成-赵根海

WinCC项目的集成

[image: image1.png]View Window Help
2 % Customize... Ctrlnlee
fiews|  Access Protection ,

Change Log

»

Text Libraries
Language for Display Devices...
Manage Multilingual Texts

»

Rewire...
Run-Time Properties. ..

Compare Blocks. ..
Reference Data
Define Global Data
Configure Network

Simulate Hodules
Configure Process Diagnostics

ECS 7 license information...

Charts

Shared Declarations

Plant Hierarchy

Process Objects

Process Objects (Online)
Process Tags

Nodels





打开Wincc项目所在路径，点击Import OS按钮；

[image: image2.png]Importing OS

[

05 to be inported

8 ©: [ meeo B

(©CommonArchiving LGrallT
EConfig (CHorn
(CICROSSRER ©library
(©Export (CMNELD
(206rals (©0nlineDelta

< J

©Packages
(CPAS

(COPASS
(EFC-2012083001

xE@: |

B D+ [Vl Frojact Files Gonep)
I URERRAR ©





WinCC项目导入成功后，会显示下面红色部分，就可以在STEP7中直接打开WinCC项目了；

[image: image3.png]K)SIMATIC Manager [Rizhao_480T (Component view) Program Files\Siemens

&) File Edit Insert PLC View Options Mindow Help
0o | 87 % B g |2 %5 % - E [ || <Fo Filter > -1 Vs BEMN

= B i than 0T [Shject mne TH hesi gment iz [ Size[inthor [ Lot modifiod e
ZH e .
@ EEW e o st oe/es/anit
op aat siizs oe/es/anit
@ cuam 43008 02/25/2017

@ e ssa00 w2/t
% iy 2s72 o/zs/2017
aouna _[To0e b st
i euesing
g | | ores/ont
97 antrst stz oz/2s/2017
- el 192 02/25/2017
A5 helpt 33280 02/25/2017
-y halp2 32256 02/25/2017
s w2/t
oz w2/t
o4t w2/t
s w2/t

Pl

73218 02/25/2017

sren 02/25/2017
47 avervian s 02/25/2017
47 Passnord amm20 02/25/2017
7 sineleline 108 02/25/2017
7 singlelinet e2s152 02/25/2017
4 sineleline 93552 02/25/2017
4 sinelelined 705538 02/25/2017
4 sineleline 123 02/25/2017
47 systen off 2672 02/25/2017
47 trendline 21 02/25/2017
47 trendlinal 15168 02/25/2017
47 tralley o016 02/25/2017
47 trollet 91136 02/25/2017
5 & 2184 02/25/2017





为了实现WinCC项目和STEP7之间的通讯，需要在WinCC Application下面插入一个IE General；它的IP地址和CP443在一个网段上且不可重复；

[image: image4.png]onfig

[SIMATIC PC Station(1)

nfiguratio

Rizhao_480T]

Options

O Station Edit Insert PIC View

ndow Help

D9 B G R da DO BN

HinlC AppLication. ~
TE General

Properties — IE General

General. | Options | Biaguostics |
o
Comment





设置完成后，编译保存；

WinCC项目集成到STEP7中后，就可以实现网路跳入和在线诊断功能了；

[image: image5.png]ii Graphics Designer — [%&J. pdl]

D » 8w
mm
(=)}
L1
Oom
Oom
(=)}
og F [VSTEE 7 Spmibol Sarvar
=] U
=1 em: [T 2
B @) =& STEP 7 Symbol Server
Eid S7 Program(1), Rizhao_480T//F|BOOL 115,
40 = 8 Symbols BOOL 115.
100 « 9 DB BOOL
E BOOL
5 BOOL
10 BOOL
BOOL
%
[too: BOOL.
BOOL
BOOL
BOOL
B





选择变量时，可以选择WinCC变量或者STEP7变量（STEP7 Symbol Server）；

