TIA Portal v13 S7双边通讯总结-赵根海
操作系统：win7旗舰版（32位）；

软件：TIA Portal v13；PLCSIM V5.4 SP5 UPD3；

1、建立两个S7-400站点；DP网组态为S7通讯；
[image: image1.png]JRH4
Project  Edit View
(3 H seveproiet

Devices

X D W

Insert  Online  Options  Tools  Window  Help

0§ 2 @ coonline F coofine iy A

Totally Integrated Automation
PORTA

| Topology view I;}. Network view l“ Device view |

Ho O

~ [ PLC_1 [CPU416-2DP]
[I¥ Device configuration
4/ Online & diagnostics
~ 2 Program blocks
i Add newblock
& Main [0B1]
» [ System blocks
» [ Technology objects
» g Extemal source files
» 3 PLC tags
» [ PLC data types
~ [ Watch and force tables
i Add newwatch table
E5l Force table
Watch table_1
» [ig Online backups
» [, Device proxy data
8 Program info
[ PLC alarms
& Textlists

PLC 1
CPU 416-2DP

PLC 2

CPU 416-2DP

B Qelon T yamemEms

4, ¥RWADPOEAR , HSTE
#®;

I E——

# Highlighted: Connection |~

- a—

2, 5IERIAICR
FIRILEHEH ;

i [FTacwarcer o0

General

|’ properties

[*4info ®[ % Diagnostics

v | Details view.

No ‘properties' available.

No'properties’ can be shown at the moment. There is either no object selected or the selected object does not have any
displayable properties.

| catalog
L M
[@Fiter
~ (@ Controllers
» (3 SIMATIC 57-1200
» [ SIMATIC 57-1500
SIMATIC 57300

» (3 SIMATIC ET 200 CPU
» [, Device Proxy.

» [ W

» [ PC systems

» [ Drives & starters

» [ Network components

» [3 Detecting & Monitoring

» [ Distributed 10

» [ Field devices

» [ Other fild devices





[image: image2.png][I¥ Device configuration
4/ Online & diagnostics
~ 2 Program blocks
i Add newblock
& Main [0B1]
» [ System blocks
» [ Technology objects
» g Extemal source files
» 3 PLC tags
» [ PLC data types
~ [ Watch and force tables
i Add newwatch table
E5l Force table
Watch table_1
» [ig Online backups
» [, Device proxy data
8 Program info
[ PLC alarms
Textlists

PLC 1
CPU 416-2DP

PLC 2
CPU 416-2DP

[ properties |’ info_®] ) Diagnostics |

|| General [ i0tags | system constants | Texts |

Local ID
‘Special connection prope...
‘Address details

v | Details view.

Name

DPiii REEES ; CP343
B, ERMBIAAK ;

[

General
‘Connection
Name: [57_Connection_1
Connection path
Local Partner
End point: [PLC1 ] [rcz ]
Interface: | PLC_1, DPinterface_102] [+]  [Pc_2, DPinterface_1bc] [-]
PHIHER interface type: [ProFiBus ] [FroFius ]
Subnet; [PROFIEUS_1 %_[FrOFiBUS_1 [

Address: |2 B I





[image: image3.png]~ [ PLC_1 [CPU416-2DP]
[I¥ Device configuration
4/ Online & diagnostics
~ 2 Program blocks
i Add newblock
& Main [0B1]
» [ System blocks
» [ Technology objects
» g Extemal source files
» 3 PLC tags
» [ PLC data types
~ [ Watch and force tables
i Add newwatch table

» [ Oniine backups
» [, Device prowy data
8 Program info
[ PLC alarms
extlists

—{PN/IE_2 [~

PLC 1 PLC 2
CPU 416-2DP CPU 416-2DP

1 Highlighted: Connection

— one-wayfT4) , AENIER (RE—PLCRE) ;

[ properties |’ info_®] ) Diagnostics |
|| General [ i0tags | system constants | Texts |
General
Special connection properties
Local end it
A del: SR one-wayRiTa  ARLER (FAPLCHEE) ;

[CJActive connection establishment

| [Jsend operating mode messages

v | Details view.

Name





2、编程

1）PLC1

[image: image4.png]Devices Options {
[EE-X-) B X =
> [Favorites
[ PLC_1 [CPU 416.20P] 8 > | Basic instructions
BTN
fgﬂ“;‘;"“g‘“"ﬂ‘ > | Extended instructions
% Online & diagnos: ~ Block title: “Vain Frogram Sweep (Cycle)” B
~ 2 Program blocks Comment daTechnology,
I Add newblock nia
B Main [081] v Network1: =
» [ System blocks Comment ~ 157 communication
» [ Technology objects =y — = e Read data from a remote CPU
» [ Extemal source files EXA ISR - pur Write data to a remote CPU
» L@ PLCtags 2.0 “Tag 2" wM2.0 - USEND Send data uncoordinated
» [ PLC data types “Tag_1" s ooT “Tag_1" & URey Receive data uncoordinated
~ 5l Watch and force tables Iy 5 @ () & B5END Send data In segments
B Add newnatch table sst1s —E0 B e = BRCV Receive data insegments
Force table = CONTROL Detemmine connection status Tor the insta
~—R BCD —. WihigifZBsend
Watch table_1 2 & PRINT Send data to printer
» [ig Online backups (RiEB)FBrev (& & START Execute a warm restart or cold startina re|
» . Device proxy data = sT0P Exit program
5 program info e Fi) B RESUME Execute a warm restart n a remote evicel
APLC alarms - STATUS Query the status of  remote pariner
Textlists = comment & USTATUS Uncoordinated receive of remote device s|
— e
[Detalls view vove » I wes senver
N ENO b G ]
Neme Address 0 w2 » Pl Commurication with 5L
oUTt —"Tag_s" » [] PROFINET CBA

» [] MPI communication
» [] TeleService





[image: image5.png]Ho O

~ [ PLC_1 [CPU416-2DP]
II¥ Device configuration
4/ Online & diagnostics
~ 2 Program blocks
i Add new block
& Main [0B1]
» [ System blocks
» [ Technology objects
» g Extemal source files
» 3 PLC tags
» [ PLC data types
~ [ Watch and force tables
i Add newwatch table

» [ Oniine backups
» [, Device prowy data
8 Program info
[ PLC alarms
extlists

CedmP ' & B

v | Details view.

Name Address

R e I A

Comment

MOVE

EN ENO
40 —IN %MW12
ouT1 —'Tag 8"

v Network3:

"Tag 8" —LEN

Comment
wom REQ: {fBEAL AU HITERIST, ofI1ZEik;
*BSEND_DE" R:E fir¥i;
BSEND ID: ACPUID 5, Word#R!;
] R_ID: {KfECPUID 5, DWord%H!;
e S SD-1oK5 78 7 B9 BOIE DX B R B 48 52 X 35
Teg T —REQ  DONE—Teg 3" LEN: BeSEHIRMKEE, s,
FALSE—R w22
dwﬁﬂétﬂ—ln ERROR —"Tag_4" DONE: %,&,ﬁi;
nssoon zo IR 2o ERROR: HR1i;
wwz STATUS: RZRL;




2）PLC2

[image: image6.png]Network: 1

L

s it

fhifiges i
ACPU ID '3, Word K7l

Ly el
s

s
NDR:
ERROR: 41
STATUS: IR

TFCRU ID %3 Frorifot— [DowWHEER ]





[image: image7.png]~ [ Program blocks
i Add new block
& Main [0B1]
» [ System blocks
» [ Technology objects
» g Extemal source files
» 3 PLC tags
» [ PLC data types
~ [ Watch and force tables
i Add newwatch table
E5l Force table

» [ Oniine backups

» [, Device prowy data
8 Program info
[ PLC alarms

Device configuration

v Details view

Name Address

Ak k- 7 o

MOVE
EN ENO
40—IN YMW2
our1 —'Tag 2"
- Network 3:
Comment
%DB1
"BRCV_DB"
BRCV
Any
EN ENO
%M111.0 %1111
"Tag_1"—EN_R  NDR—Tag_3"
WH#16#1 — D %M111.2
dw#16#1—R_ID ERROR—'Tag 4"
P#M600.0 INT 20 — RD_1 %MW120
%2 STATUS — "Tag_5"
"Tag_: LEN





3、仿真

[image: image8.png]File Edit View Insert PLC Execute Tools Window Help

0 & & @ [presmncrer/n~ BEw N EEEEE

[@crv (o] @[ RI[BM .[o]@[=]

EES
Ooe [ RUNP MD 100 Real

Epc [ RUN

(U 0.0000002+000
D srop | STOP _MRES &

CPU/CP: MPI=2 DP=3

@) S7-PLCSIM1  $7-400 station 1\PLC_1
File Edit View Insert PLC Execute Tools Window Help

0 & &8 [pcsmn(rcp/n v BRERN B Easalgaaa
[Pl IR

.
[@cpu

ol @ =B vw ... [ =] [Bmw .. =]
OsF

Opp [~ RONH [ 2 [Decimal > ] || w4 [Decimal ~| 3
bc [~ RUN

BN stop  waes | [ oI 0

O sToP
Boow | @ [ se [Eeonw

e se MEaan g oe )
CPU/CP: MPI=2 DP:





[image: image9.png]Project Edit View Insert Online Options Tools Window Help

i 3 swepoen 5 X

| Devices |

T

MG E R Y coonine & Gooftine i A

% E4 » PLC_1[CPU 416-2DP] » Watch and force tables » Watch table_1

%

=n

Totally Integrated Automation

PORTAL

5@ O

& Main [0B1]
» [ System blocks
» [ Technology objects
» g Extemal source files
» 3 PLC tags
» [ PLC data types
~ [ Watch and force tables
i Add newwatch table
Force table
Watch table_1
» [ig Online backups
» [, Device proxy data
8 Program info
[ PLC alarms
extlists
» [ Local modules
~ [ PLC_2 [CPU 416-2DP]
II¥ Device configuration
4/ Online & diagnostics
~ 2 Program blocks

v | Details view.

Name

BMWS02
BMWS04.
BMWS06
BMWS08
BMWS10
BMWS12
BMWS14
BMWS16
BMWS18
BMW520
BMW522
BMW524
BMW526
BMW528
BMW530
BMW532
BMW534.
BMWS36
BMW520

<Add new>

Display format.

Monitorvalue | Modify value

[Z)6#0001 " 1620001
11620002 | 1620002
11620003 | 1620003
11620004 | 1620004
11620005 | 1620005
11620006 | 1620006
11620007 | 1620007
11620008 | 1620008
11620000 | 1620009
11620010 | 1620010

1640003

3@
28
g8
g8
ge
88

N

[ fiafi)
L d el

(])
BB

Comment

1

FTAPLCIAYE R
&= ; SHiR





[image: image10.png]RH4

74 Siemens
Project Edit View Insert Online Options Tools Window Tl e e
Gt hE swveprject & X B2 X 0 T 50 ER Y coonine F cooffine g I8 PORTAL

De 'S
GO © XX ek
i Name Address Display format i Modify value 7 Comment
4 Main [0B1] HBMW600 Hex.
» [ System blocks HMWE02 Hex
» i ety s pox (Pre2stiet  SERRURIENL |
» [} External source files %BMWE06 Hex
» [ PCtags %608 Hex TR ESCIeR
» [ PLC data types HMWE10 Hex
[ Watch and force tables HMWE12 Hex ]
[ Add new watch table BMWE14 Hex.
Force table HMWE16 Hex
Watch table_1 HBMW6E18 Hex.
» [ig Online backups BMWE20 Hex
» . Device proxy data HMWE22 Hex
56 Program info HMWE24 Hex
A PLC alarms BMW626 Hex.
extlists HMWE28 Hex
» [ Local modules HMWE30 Hex
LC_2 [CPU 416-2DP] BMW632 Hex.
Y Device configuration HMWE34 Hex
% Online & diagnostics BMWE20 Hex
~ I Program blocks HMWE22 Hex
— <Add new>
v | Details view.





双边通讯比单边通讯可靠性高；需要两个站都要建立握手通讯；
