Diagnostic buffer of module CPU 315-2 DP

Order No./ Description        
Component                     
Version                       

6ES7 315-2AG10-0AB0           
Hardware                      
7                             

- - -                         
Firmware                      
V 2.6.6                       

Boot Loader                   
Firmware expansion            
A 0.21.0                      

Rack:                         
0

Slot:                         
2

Event 1 of 10:  Event ID 16# 38C4

Distributed I/Os: station return

Address of the affected DP slave: station number:    5

DP master system ID:      1

Log. base address of the DP slave: Input address:  2036

Log. base address of the DP master:   2047

Requested OB: Rack failure OB (OB86)

Priority class: 26

External error, Outgoing event

07:43:18.079 PM  10/21/2000

Event 2 of 10:  Event ID 16# 2943

I/O access error, writing

P area, word access, Access address:    280

Requested OB: I/O access error OB (OB122)

Priority class:  1

External error, Incoming event

07:43:18.053 PM  10/21/2000

Event 3 of 10:  Event ID 16# 2942

I/O access error, reading

P area, word access, Access address:    284

Requested OB: I/O access error OB (OB122)

Priority class:  1

External error, Incoming event

07:43:18.053 PM  10/21/2000

Event 4 of 10:  Event ID 16# 2942

I/O access error, reading

P area, word access, Access address:    282

Requested OB: I/O access error OB (OB122)

Priority class:  1

External error, Incoming event

07:43:18.052 PM  10/21/2000

Event 5 of 10:  Event ID 16# 2943

I/O access error, writing

P area, word access, Access address:    282

Requested OB: I/O access error OB (OB122)

Priority class:  1

External error, Incoming event

07:43:18.051 PM  10/21/2000

Event 6 of 10:  Event ID 16# 2943

I/O access error, writing

P area, word access, Access address:    280

Requested OB: I/O access error OB (OB122)

Priority class:  1

External error, Incoming event

07:43:18.034 PM  10/21/2000

Event 7 of 10:  Event ID 16# 2942

I/O access error, reading

P area, word access, Access address:    284

Requested OB: I/O access error OB (OB122)

Priority class:  1

External error, Incoming event

07:43:18.033 PM  10/21/2000

Event 8 of 10:  Event ID 16# 2942

I/O access error, reading

P area, word access, Access address:    282

Requested OB: I/O access error OB (OB122)

Priority class:  1

External error, Incoming event

07:43:18.032 PM  10/21/2000

Event 9 of 10:  Event ID 16# 2943

I/O access error, writing

P area, word access, Access address:    282

Requested OB: I/O access error OB (OB122)

Priority class:  1

External error, Incoming event

07:43:18.031 PM  10/21/2000

Event 10 of 10:  Event ID 16# 2943

I/O access error, writing

P area, word access, Access address:    280

Requested OB: I/O access error OB (OB122)

Priority class:  1

External error, Incoming event

07:43:18.021 PM  10/21/2000

