MMC的信息与使用

SIEMENS A&D CS 2004-3-10
首先我们建议您访问siemens A&D公司的技术支持网站：

www4.ad.siemens.de
在检索窗口中键入相关产品或问题的 关键字 ，获取关于产品或问题的详细信息和手册。

[image: image1.png]Fle Edt View Favortes Tools Help

Gack - > - @ [ A | Qoearch (GiFavortes iveda B | BN 5 5 (R

asass [ g o s s ]

SIEMENS . us [Engisn [

e

pport Information

Automation and Drives

For MySupport | would iketo: Bl Loain (B Reaister
Service & Support

WARBRETHE
News and Oniine:Help
Cortacts workawie Product Support
Here youswil find al our Products and Systems
Field Service N/ ==
Spare Parts
Services

Technical Support

Errene) You need a senice specialist, a spare part, an expert o

consult or you simply have a question.

TECHUCAL ~ TECHMCAL  SPAREPARTS/ FELD
Newsletter SUPPORT  CONSLLTING REPARS  SERVICE
Forum

Support Shop
Expert Furchase the following products online with the AV Card
Communication

STANDARD  SUPPORT

e O TOPDOWNLOADS  AV-CARD





图1

您可以在www4.ad.siemens.de网站的检索窗口中键入 MMC等关键字 ，获取关于MMC、PG或读卡器(USB prommer)等产品的相关信息。

MMC卡是西门子新型PLC的程序、数据的存储体，目前应用于以下几种PLC产品：

订货号



产品名称

6ES7 314-1AF10-0AB0

新型CPU 314

6ES7 315-2AG10-0AB0

新型CPU 315-2DP

6ES7 312-5BD00-0AB0

CPU 312C

6ES7 313-5BE00-0AB0

CPU 313C

6ES7 313-6CE00-0AB0

CPU 313C-2DP

6ES7 313-6BE00-0AB0

CPU 313C-2PTP

6ES7 314-6CF00-0AB0

CPU 314C-2DP



6ES7 314-6BF00-0AB0

CPU 314C-2PTP

6ES7 613-1CA00-0AE3

C7 613


6ES7 635-2EC00-0AE3

C7 635
OP

6ES7 635-2EB00-0AE3          C7 635
OP 

6ES7 151-7***-0AB0

ET200S with CPU            

注：以上产品的订货号会因为产品软硬件的升级略有调整，产品特性以产品名称为准。 

1． 在定购以上产品时，PLC本身不带有MMC卡，所以为了正常使用PLC，您必须根据您工程项目实际需求定购一个大小适用的MMC卡，如果您的PLC上未插入MMC卡，你是无法将STEP7中的程序和数据下载下去的，同时你应当注意，不能带电插拔MMC卡，否则会丢失程序或损坏MMC卡。

2． 在Simatic manager中，选择一个程序块下载，则该块被下载到MMC卡中，如果在窗口左边的树型图中选中Block文件夹进行下载，则所有的块被下载到MMC卡上，MMC中原有的信息将被覆盖，向MMC卡读写数据或下载程序的次数不受限制。

3． 除过CPU中集成的SFB/SFCs块外，MMC当中其他的块可被在线删除。

4． 对某些CPU用新版MMC卡（6ES7 953-XXX10-0AA0）替代旧版MMC卡（6ES7 953-XXX00-0AA0）时需要升级PLC的OPERATING SYSTEM。升级时需要使用PG（6ES7798-0BA00-0XA0）或带USB口的编程器（6ES7792-0AA00-0XA0），通过STEP7 MANAGER窗口中的菜单功能“PLC/UPDATE OPERATING SYSTEM”将CPU_HD.UPD文件写到MMC卡上，CPU_HD.UPD文件可以在www4.ad.siemens.de网站上下载得到。
5． MMC卡作为CPU的装载内存（Load Memory），在为您的CPU选型MMC的时候，我们建议您所选的MMC卡一定要大于等于您所选定的CPU工作内存的大小（work memory），最好比工作内存大一些，但如果您的应用中，PLC工作时要使用大量的过程数据，历史数据，配方数据等或控制工艺中存在较多的用户程序块、STEP7中的应用功能块（如FB41、FB42等）时，建议选用2－8M的MMC卡，但请注意只有314、315－2DP、C7系列的PLC支持8M的MMC卡。
6． MMC卡是装载内存，所以不能够在上位机中的组态软件中直接读取MMC卡上的数据值（DB块中的数据），组态画面读取的是PLC RAM内存中的数据。
7． 在西门子的PLC上必须使用西门子专用的MMC卡，如下表中所列出的，不能使用数码相机、移动电话或PDA等数码产品使用的通用型MMC卡。

The order numbers for MMC cards are in the following  table：

	Micro Memory Card / S7-300 
	Order number 

	64 Kbytes 
	6ES7 953-8LF11-0AA0 

	128 Kbytes 
	6ES7 953-8LG11-0AA0 

	512 Kbytes  
	6ES7 953-8LJ11-0AA0 

	2 Mbytes 
	6ES7 953-8LL11-0AA0 

	4 Mbytes 
	6ES7 953-8LM11-0AA0 

	8 Mbytes 
	6ES7 953-8LP11-0AA0 


MMC常见问题列表

QUESTION 1 : 如何确定STEP7中的工程项目需要使用多大空间的MMC卡？
QUESTION 2 : MMC卡上存储程序块或数据块的限制是什么？                               
QUESTION 3 : 如何删除MMC卡上的数据或程序？
QUESTION 4 : 31X型PLC插入MMC卡后，STOP灯不停闪烁，怎么办？ 或 如何格式化MMC？
QUESTION 5 :插入MMC卡的S7300 PLC不能正常调用SFC54程序块？
QUESTION 6 : 采用MMC卡的S7300和C7613，635系列CPU是如何完成数据保持功能的？
QUESTION 7 : 我如何将一些系统文件或是项目相关的文件存储到MMC上？ 

QUESTION 8 : 我想将我的STEP7项目完整地保存在MMC卡上，该选择多大的MMC？
QUESTION 9 : 我对插入MMC卡的S7300PLC进行了加密，但我忘记了密码，如何才能对MMC解密， 或删除MMC卡上的密码？
QUESTION 1 : 如何确定STEP7中的工程项目需要使用多大空间的MMC卡？

Answer ：确定您的控制程序所需的MMC卡的大小，可以按以下步骤进行：

1． 在STEP7 Manager中打开您的Project；

2． 选中您的程序块，点击鼠标右键（或快捷键Alt + Enter）,打开程序块的属性页面：

[image: image2.png]X SIMATIC Manager
By Fle Ed Insert PLC Vew Optons Window el

s\Siemens\Step7\s7proj\me]

D)|o| 827 & [Be| sl [ 25

@1 [<NoFer>

MMC

5 System data

Bl FB8 ZFPET Open Object
= [ cPuscaoe  groim ST
=& S7Progran(l) |g3.089 oo
@) Sources Copy
@ Blocks Paste
Oektz

0882

Insert New Object
PLC

Rewiring

Compare Blocks.
Reference Data

Print

e
0855
iAo |04
i 5
ctivc
iy
Dl





3． 选择弹出窗口中的General-Part 2页面：

[image: image3.png]Properties - Organization Block

General-Part 1 (Gerneral-Pat Z)Cals | Atibutes

Name (Header}

Famib:

Lengths
Local Data: Bbytes

MC?: 140 bytes
Load Memory Requitement /%48 byies”
Wotk Memory Requiement. \76 by

I~ DB i wite potected in the PLC.
I~ Knowhow protection
I~ NonRetsin

Version (Header):

Author

I~ Standard block
I™ Unlinked

[

=

Help





从上图中可以看出您的某个程序块在PLC中占用装载内存和工作内存的字节数。

4． 将您项目中所有程序块（OB、FC、FB、DB）占用装载内存（Load Memory Requirement）的数量加在一起：

[image: image4.png]X SIMATIC Manager - [MMC -- D:\Program Files\Siemens\Step7\s7proj\Mmc]
Bj Fle Ede Insert PLC Ve Options Window ek

Des| 29 % |2a[e| dif [2 2 2

& [erma>
=B GmD Soew
Bl

5 Pt
= @ cuscaor g 0BT
= & 57 Progam(l) = 0811
@1 Souces
& Blocks
E calculator
Edt View Hep

OHex @Dec O0ct OBin
O Ol | [

©Degiees  ORadians O Grads

) )

se] (=)0 Le] (000 ] et o)
) FEE ) DEECEE
) W) ) DG

O EED & EE

B





这里的OB1程序块需要占用装载内存（即MMC卡）中的248个字节。

[image: image5.png]X, SIMATIC Manager

=]
Dl 2] 4 [oele] i[5 =] & [aeres Six zle| B
Er=T0 [Ewemdata 43081 o 0862 o 088 o OB
D oo o gmm>  oew o
= @ crusicaor Fei00 g i @082 =08
57Progiam(l) |5 089 5 0B10 DB 3 DB12 3 DB
Sources

Blacks

Properties - Function Block

ol -Pa 1 Geneal P2 | Cale | At

Mame (Hesder):

Eemily

Lengths
Local Data: 80bytes
MC?: 3830 bytes

Load Memory Requitement €430 byes

Wotk Merory Requirement 3326 bytes

I~ DB i wite potected in the PLC.
7 Knowhow protection
I~ NonRetsin

Version (Header)

Author

I~ Standard block
I™ Unlinked

[

=

Help





这里的FB101程序块需要占用MMC卡中的4490个字节。

将OB、FB、FC、DB（不包括SFC、SFB、System data）所需占用的字节数加在一起：


[image: image6.png]E calculator
Edt View Hep





得到的总的字节数量在除以1024，就可以知道您的Project中的程序块需要多大的MMC卡空间。

5． 如果您已经有Siemens的PLC和MMC，那么您可以通过在线诊断，获取PLC工作内存和装载内存（MMC卡）的使用情况。

在STEP7 Manager界面中，选中CPU，用CP5611或PC-Adapter连接PLC的MPI通讯口，使用快捷键Ctrl + D，弹出PLC的诊断信息窗口：

当MMC卡未插入PLC中时：

[image: image7.png]X SIMATIC Manager - [MM¢

=]

\Program

mens\Step7\s7proj\imc]

Dl 27| o[l @@ =] | & [weres 19| s 2/=(m
= By e
= [ cPustc20p [Pa MMCWIACPTPACRUSIAC20P  Operaligmode ofthe CPU: @ STOP
= 57 Program(1] | Status: OK. Not a force job.
@ Souces TineSystem | PefomanceData | Commuricaion | Stacks
Geed | DisorosicBufer [ WG| ScanCycleTine

Assignment

5%

(sizes inbytes)

Load memory FM + EPROM Work Moy

Fres: 43152
M Assigred: 0
Tota

Laigest Free Block:
Max. Pluggable:

w8k TAENE





因为PLC中没有插入MMC卡，Load memory RAM + EPROM列为空，Work Memory列中显示当前PLC的工作内存为48K，EPROM是S7-400、旧款S7-300使用的装载内存卡；

在PLC中插入MMC卡时，

使用快捷键Ctrl + D弹出PLC的内存使用情况：

[image: image8.png]Falv MMOIACPTPCPU G20 Opesting modeof he CPU: ® STOP
St O Notaotce ob
ToeSytem | PefomarceOats | Commmoson | Stacks
Geneal | DisgrostcBufer e e
Assignment:
o o

(i) Load memory RAM + EPROM ‘Work Memory

o Free 48,152

W Assioned: 0

Totak 48,152

Laigest Free Block:
Max. Pluggable:

Details Memory Area

Pt

Help





可以看出PLC的内存使用情况为0％，空余128K装载内存和48K工作内存；

将您的程序下载到PLC当中：

[image: image9.png]X SIMATIC Manager

Bt @ hoort ALC Yow s bindo

Dle| 225 & o) an| Jo 2=
e
T e
CPUT4C20P Fe100
= 57 Program(1) /@ DBY

Sources






使用Ctrl + D弹出PLC的内存使用情况：

[image: image10.png]X, SIMATIC Manager \Program Files\Siemens\Step7\s7proj\mc]
=]
D] 82| & [ saf [ 26 & 17| %@ Bsm e
= B e [E057 Proganll] [ Conections

S 3ucer
@ crusnicaoe

Patfe  [MMC\314CPTPACPL 314C-2DP Operating mode of the CPU: @ STOP

Status: DK, Notaforoe ob

ToeSystem | PefomarceOan | Commmoson | Stacks
Disgrost Blfer Memay | SeanCycleTine

Geneal |

Assignment

s1%

(sizes inbytes) Wotk Memoy
e 24134

M Assigred: 25,018
Tot 43152

neERldgas 9cEie] !
HHCF; £ 32 . 1K g

oA R

R i ,
Deti ety e

BRIR PR A L Compress

Fisdime-f

Close. Update. Help





可以看出，您的控制程序在PLC中对装载内存和工作内存的占用情况。

返 回
QUESTION 2 : MMC卡上存储程序块或数据块的限制是什么？                               Is there any restriction to the number of blocks I can load onto an MMC (Micro Memory Card)? 

ANSWER:  
Yes, there is a limited number of blocks you can load onto an MMC depending its size as shown by the table below:

	Type 
	MLFB 
	Maximum number of blocks 

	MMC 64KB 
	6ES7953-8LF11-0AA0 
	768 

	MMC 128KB 
	6ES7953-8LG11-0AA0 
	1024 

	MMC 512KB 
	6ES7953-8LJ11-0AA0 
	2560 

	MMC 2MB 
	6ES7953-8LL11-0AA0 
	6528 

	MMC 4MB 
	6ES7953-8LM11-0AA0 
	12672  


Table 1: Maximum number of blocks on an MMC 

Please note here the applicable quantity framework for each CPU (number of blocks altogether). 
返 回
QUESTION 3 : 如何删除MMC卡上的数据或程序？
How can I delete the data or program on a MMC (Micro Memory Card)? 

You can use the following procedure to delete the block on an MMC in the CPU: 

1. The MMC to be deleted is slotted in the CPU. 

2. In the SIMATIC Manager, switch to online mode via "View > Online" or by pressing the appropriate button. 

3. In the Online window, you select the block folder. 

4. Select all the blocks in the folder which you want to delete. 

5. Click the "Delete" key on your PC keyboard  (you can acknowledge the message that system functions cannot be deleted). 
返 回
QUESTION 4 : 31X型PLC插入MMC卡后，STOP灯不停闪烁，怎么办？ 或 如何格式化MMC？
Why does the STOP LED flash on my CPU 31xC when the MMC (Micro Memory Card) is slotted? The CPU does not behave like this with other MMCs.  

ANSWER:  
The MMC in your CPU is not formatted or contains data that cannot be interpreted by this CPU (e.g. the configuration of a different CPU type or an operating system not compatible with the CPU).  

WARNING:
When you format the MMC all the data that is located on the MMC is deleted! 

Proceed as follows to format the MMC. 

1. Your CPU requests an overall reset (slow flashing of the STOP LED). 

2. Put the switch into the MRES position and hold it there until the STOP LED lights permanently (approx. 9 seconds). 

3. You must then release the switch within the next 3 seconds and then put it back into the MRES position. The STOP-LED now flashes during formatting. 

If the MMC cannot be formatted as described above, then the MMC is defective. 

NOTE:
It is only possible to format the MMC if there is data located on the MMC that is invalid for the CPU. Otherwise the MMC is only initialized through the steps described. 

More information on the MMC is available in Entry ID: 8861901 
返 回
QUESTION 5 :插入MMC卡的S7300 PLC不能正常调用SFC54程序块？
Why does the SFC 54 "RD_DPARM" not work with the new S7-300 CPU with MMC? 

ANSWER: ;
In the new S7-300 CPUs with micro Memory Card, SFC 54 "RD_DPRARM" for reading out a data record of a chosen block of the system data configured with STEP 7 has been replaced by SFC 102 "RD_DPARA". 

SFC 102 "RD_DPARA", in contrast to the old SFC 54 "RD_DPARM" is an asynchronously executed system function. This means that the processing is extended over various SFC calls. 

Blocks containing SFC 54 "RD_DPARM" can not be loaded to a new S7-300 CPU with MMC. Therefore, please replace the call fo the SFC 54 "RD_DPARM" by the call of the SFC 102 "RD_DPARA" and adjust your programming logic to the asynchronous behaviour of the SFC 102 "RD_DPARA" an. 

Below, you will find a comparison of the two system functions:

	SFC 54 "RD_DPARM"
	SFC 102 "RD_DPARA"
	Observations

	 Inputs 
	 

	---
	REQ
	Function will be executed only with REQ=1; new for SFC 102

	IOID
	---
	Parameter has been dropped for SFC 102; see LADDR

	LADDR
	LADDR
	SFC 54: any block address, specification of the E resp. A address range over IOID ((B#16#54=Peripherie Eingang; B#16#55= peripherial output) SFC 102: any block address; Specification of the E resp. A address range over bit 15 of LADDR (most siginficant bit) Bit15=0 -> peripherial input Bit15=1 -> peripherial output

	RECNUM
	RECNUM
	use identically

	Output 
	

	RET_VAL
	RET_VAL
	use identically; however, there are additional error numbers for SFC 102 at disposition.

	---
	BUSY
	BUSY=1; the order has not been finished so far, there are no results at disposition

	RECORD
	RECORD
	use identically


Table 1: Comparison SFC 54 and SFC 102 
返 回
QUESTION 6 : 采用MMC卡的S7300和C7613，635系列CPU是如何完成数据保持功能的？
How does the remanence function of the S7-300 CPUs and C7-613 and C7-635 compact devices work with Micro Memory Card? 

ANSWER:
The remanence characteristics described below affect the S7-300 compact CPUs, S7-300 modular CPUs and the C7-613 and C7-635 compact devices with MMC. We describe the remanence characteristics after changes in operating mode in terms of data blocks, times, counters and markers. 

Data blocks: 

· CPU STOP/RUN or Power OFF/ON

1. Database contents of CPUs 31xC, 312, 314, 315-2DP, C7-613 and C7-635 are always remanent.
2. The DBs can be defined as remanent or non-remanent for the CPU 317-2DP.
Therefore, a setting in STEP 7（V5.2 +SP1） is required for CPU317－2DP: 

· An explanation for the activation or deactivation of the option "Non-Retain" in the block properties of the DB, can be found in the entry-ID: 17146856 or 

· a DB was created with SFC 82 "CREA-DBL". While creating a DB with SFC 82 it is determined in the attributes of the DB in Bit 2, whether the DB shall get remanent or not.
Note:
Only 256K bytes of the main memory (512 Kbyte) can be used for remanent data blocks at a CPU 317-2DP! No remanent DB will be created anymore and the value 80B2 (not sufficient main memory) will be displayed, if the main memory is too small for remanent data blocks.

· Memory reset (MRES)

1. The data will be reset to the values in the loading memory (initial value). These are the last current values which were loaded with the PG into the CPU or which were written with the SFC84 into the loading memory.

2. All blocks of the loading memory remain unchanged. The data blocks are initialized in the main memory.

· CPU Power OFF -> pull MMC -> Power ON -> Power OFF -> plug MMC -> Power ON

1. The data are reset to the values in the loading memory. These are the last current values which were loaded from the PG into the CPU or written into the loading memory with SFC84.

2. All blocks of the loading memory remain unchanged. The data blocks are initialized in the main memory.

Note:
If it is required to safeguard current data, those have to be saved on the MMC (loading memory). SFC84 can be used for this purpose. The frequency of the write accesses on the loading memory is critical because a MMC only allows 100,000 write accesses.

Markers, times and counter: 

These operand areas can be defined as remanent or non-remanent in the HW configuration under "Object properties CPU > remanence". 

· CPU STOP/RUN or Power OFF/ON
These operand areas keep their values if they were defined remanent. Otherwise they lose the values and will be initialized with "0".

· Memory reset (MRES)
These operand areas are deleted during the memory reset, regardless whether they were defined remanent or non-remanent.

· CPU Power OFF -> Remove MMC -> Power ON -> Power OFF -> Insert MMC -> Power ON
If they were defined as remanent, these operand areas retain their values. Otherwise they lose their values and initialize with "0". This characteristic applies if the same unchanged MMC is inserted again.
QUESTION:
What does "Non-Retain" mean in the Properties - Data Block dialog? 

ANSWER:
In STEP 7 version V5.2 + SP1 and higher you have the option of selecting the property "Non-Retain" in "Properties - Data Block" in the "General - Part 2" tab. You can define the remanence behavior of data blocks with this option. 

[image: image11.png]Properties - Data Block

Generl-Pat1 Gonwal-Pat2 | Cals | Atnbutes|

e (Hesder):

Esmily:

Version (Header) [01

Autbor

-Lenghs
Local Data:

Datz Obytes
Load Memoy Requitement 80 bytes
Wark Memory Requiement, 36 bytes

I~ DBis witeprotectedinthe PLC

I~ Knowhow prtection
7 Nonfiean

I~ Standard black.
I™ Uninked

=

Help





Fig. 1: Properties - Data Block 

The requirement for this option is that the CPU supports the Retain property of data blocks.

A data block with the property "Non-Retain" is not stored in the remanence memory in a CPU 317 -2DP and is thus reset to the original load values at each power OFF/ON or each STOP-RUN transition of the CPU.
A data block with the "Non-Retain" property occupies RAM space as usual, but no remanence memory space. 

Note:
The CPU 317-2DP has a RAM of 512 KB, but only 256 KB of data can be retained
返 回
QUESTION 7 : 我如何将一些系统文件或是项目相关的文件存储到MMC上？ 
Can I also save other files that belong to the project or system on the MC/MMC? 

ANSWER:  
You can save any file connected with the system on the MC/MMC. 
Procedure: 

· Slot the memory card or micro memory card into the PG. 

· Open the SIMATIC-Manager. 

· Go to "File > S7-Memory Card > Open". 

· Then go to "PLC > Save to Memory Card ...". 

[image: image12.png]7, SIMATIC Manager - 57 memory card

Fle Edt Insert [ PLC View Options Window Help

alm  AcessRights »

0| 28m AR

Doyrizad it
MR Corpe nd Dorioed Objerts

& STmemon (e
Upload stator

Copy RA b5 RO,

Doyirioed ser program b mermory card)

Retrieve from Memry Card,
anage 17 Syster
Display Accessible Nodes

Pl eszaces,
Display Force Yalues,
Woritar{odfy Verietles

Diagnostc/Setting »

PROFIEUS »
Assign Ethernet Address.
Assin PIPC

Coricel PG/PC assignt
Update Operating System.





Fig. 1: SIMATIC Manager - S7 memory card 

· In the left file explorer you select the required file and mark it for saving with the "-->" button. 


[image: image13.png]K,lSIMATIC Manager - 57 memory card

=

57 memory card
€ 57 memoy card

Save files to Memory Card x|

[-STEP7Data

Projects/Libraris. ’7

- Ot fs:

DAAMTBFupdate_11.s

Caresl e




· If you want to remove files again from the selection, use the "<--" button. 

· Click "OK" to save the selected data to the memory card or micro memory card. 

· You receive an acknowledgment once the data has been saved. 

· Then the data transferred is displayed in the "S7 Memory Card" window. 

[image: image14.png]Ri|SIMATIC Manager - 57 memory card
Fe bt Inset RLC vew optons Widow el

D] 87w & [T[e daf [o = =

& 57 memoy cad

update_T1 4k




Fig. 3: View of data in memory card window 

Note:
You can only use this function for an S7-300 Micro Memory Card and S7-400 Flash EPROM card.  
返 回
QUESTION 8 : 我想将我的STEP7项目完整地保存在MMC卡上，该选择多大的MMC？
How can I determine the size of the MMC so that I can store my complete STEP 7 project on it? 

ANSWER:  
In order to choose the appropriate MMC for your project you need to know the overall size of the project and the size of the blocks to be loaded. You can determine the size of the project as described below:  

First archive your STEP 7 project. Then open the archived project in Windows Explorer and determine its size (select and right-click). This gives you the size of the archived file. 

 [image: image15.png]Bonert} ey Summan|

9 o
Typectfie WiZpDati

Opens ity £2) WiZip Evecutsble Change.

Location:  H:AFAQ-Daten

Size: 333KB (403,340 bytes)

Size ondisk: 395 KB (405504 bytes)

Created:  Freitag, 13. Dezember 2002, 131801
Modiied  Freitag, 13. Dezember 2002, 131505
Accessed:  Frsitag, 13 Dezember 2002, 131831

Avbutes [ Fzadon [ Hidden W Achive

Cance

5l




 

Fig. 1: File properties 

Load your blocks into the CPU. Now you still have to select "PLC > Module Information > Memory". There, in "Load memory RAM + EPROM", you can see the size of the assigned load memory. 

[image: image16.png]L]

=101
Pathc [Accessble NodestPl = 2 (diecth) Operating mode of the CPU: <35 AN
Status: DK Not aforce job
e [ e [ Emmwwm [ 5
C I T TGy S e
Assignment
(szes inbytes) s £
Load memory RA + EPROM Wk Mo
. Fes 118,800
W hssoned 12272
Tolak 131072
Largest e Block

Max. Pluggable:

Compress.

Details Memory Area

oo | i

Help




  

Fig. 2:  Load memory 

You must add this value to the size of the archived project you have already determined. This gives you the overall amount of memory required to store your complete project on an MMC.
返 回
QUESTION 9 : 我对插入MMC卡的S7300PLC进行了加密，但我忘记了密码，如何才能对MMC解密， 或删除MMC卡上的密码？
答： 如果您忘记了您在S7-300CPU Protection属性中所设定的密码，那么您只能够采用siemens的编程器PG（6ES7798-0BA00-0XA0）上的读卡槽或采用带USB接口的读卡器（USB prommer  6ES7792-0AA00-0XA0），选择SIMATIC Manager界面下的菜单  File(S7 Memory Card(delete 选项删除MMC卡上原有的内容，这样MMC就可以作为一个未加密的空卡使用了，但无法对MMC卡进行解密，读取MMC卡中的程序或数据。

返 回
_1140268067

_1140444771

