（1）物理层对比

[image: image1.png]PROFIBUS DP

RS-485
Wire Carries Data Only

9,6K; 19,2K; 45 45K; 93,75K;
187,5K; 1,5M; 3M; 6M; 12M

NRZ (Non-Return to Zero)

11 Bits Per Data Byte

1 Start Bit, 8 Data Bits (LSB First)
1 Parity Bit(Even Parity), 1 Stop Bit
1 Parity Bit for Each Character

1 Byte FCS Check Sum
(Frame Check Sequence)

Physics

Transmission
Rate

Coding

Character
Format

Check
Sequence

PROFIBUS PA

IEC 1158-2 MBP-IS

Wire Carries Data and Power

31,25K

Manchester

8 Bits Per Data Byte
8 Data Bits (MSB First)

16 bit CRC (Cyclic Redundancy
Check)





（2）数据帧格式对比 

[image: image2.png]Message Structure

FCs: Frame Check Sequence

CRC: 16 Bit Cyclic Redundancy Check
ED: End Delimiter
EOF: End Of Frame
SOF: Start of Frame

= RS-485
= MBP-IS
P | soF U % crRc | EOF

P: 16 Bit Preample (Timing Synchronization)
SD: Start Delimiter
LE: Net Data Length (DU) + DA, SA, FC, DSAP, SSAP
LEr: Length repeated
DA: Destination Address (Where the message goes to)
SA: Source Address (Where the message comes from)
FC: Function Code ( FC=Type & Priority of Message)
DU: Data Unit (Up to 246 Bytes including 2 Bytes for SAP’s)





