Diagnostic buffer of module CPU 313C

Order No./ Description        
Component                     
Version                       

6ES7 313-5BF03-0AB0           
Hardware                      
2                             

- - -                         
Firmware                      
V 2.6.6                       

Boot Loader                   
Firmware expansion            
A 0.21.0                      

Rack:                         
0

Slot:                         
2

Event 1 of 100:  Event ID 16# 4303

STOP caused by stop switch being activated

Previous operating mode: RUN

Requested operating mode: STOP (internal)

Incoming event

04:28:20.148 PM  10/11/2010

Event 2 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

04:24:55.831 PM  10/11/2010

Event 3 of 100:  Event ID 16# 1381

Request for manual warm restart 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information:

- Startup without modified system configuration 

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up 

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

04:24:55.829 PM  10/11/2010

Event 4 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

04:24:55.239 PM  10/11/2010

Event 5 of 100:  Event ID 16# 49A4

STOP: inconsistency in the configuration data

occurred when checking Parameters for internal consistency

 No consistency entries assignable

Error type: Time stamps of the loaded parameter fields do not match

Previous operating mode: STARTUP (warm restart)

Requested operating mode: STOP (internal)

External error, Incoming event

04:19:41.067 PM  10/11/2010

Event 6 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered by switch setting; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered by switch setting; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

04:19:40.845 PM  10/11/2010

Event 7 of 100:  Event ID 16# 4304

STOP caused by PG stop operation or by SFB 20 "STOP"

Previous operating mode: RUN

Requested operating mode: STOP (internal)

Incoming event

04:19:20.015 PM  10/11/2010

Event 8 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

04:09:47.034 PM  10/11/2010

Event 9 of 100:  Event ID 16# 1381

Request for manual warm restart 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information:

- Startup without modified system configuration 

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up 

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

04:09:47.032 PM  10/11/2010

Event 10 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

04:09:46.450 PM  10/11/2010

Event 11 of 100:  Event ID 16# 49A4

STOP: inconsistency in the configuration data

occurred when checking Parameters for internal consistency

 No consistency entries assignable

Error type: Time stamps of the loaded parameter fields do not match

Previous operating mode: STARTUP (warm restart)

Requested operating mode: STOP (internal)

External error, Incoming event

04:08:06.707 PM  10/11/2010

Event 12 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered by switch setting; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered by switch setting; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

04:08:06.485 PM  10/11/2010

Event 13 of 100:  Event ID 16# 49A4

STOP: inconsistency in the configuration data

occurred when checking Parameters for internal consistency

 No consistency entries assignable

Error type: Time stamps of the loaded parameter fields do not match

Previous operating mode: STARTUP (warm restart)

Requested operating mode: STOP (internal)

External error, Incoming event

04:06:21.463 PM  10/11/2010

Event 14 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered by switch setting; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered by switch setting; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

04:06:21.195 PM  10/11/2010

Event 15 of 100:  Event ID 16# 49A4

STOP: inconsistency in the configuration data

occurred when checking Parameters for internal consistency

 No consistency entries assignable

Error type: Time stamps of the loaded parameter fields do not match

Previous operating mode: STARTUP (warm restart)

Requested operating mode: STOP (internal)

External error, Incoming event

03:54:15.487 PM  10/11/2010

Event 16 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered by switch setting; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered by switch setting; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

03:54:15.255 PM  10/11/2010

Event 17 of 100:  Event ID 16# 4358

All modules are ready for operation

Operating mode: STOP (internal)

Incoming event

03:52:30.835 PM  10/11/2010

Event 18 of 100:  Event ID 16# 4357

Module monitoring time started

Operating mode: STOP (internal)

Incoming event

03:52:25.829 PM  10/11/2010

Event 19 of 100:  Event ID 16# 4300

Power on backed up 

Previous operating mode: No voltage

Requested operating mode: STOP (own initialization)

Incoming event

03:52:24.300 PM  10/11/2010

Event 20 of 100:  Event ID 16# 494E

Power failure

Previous operating mode: STOP (internal)

Requested operating mode: No voltage

External error, Incoming event

03:51:54.358 PM  10/11/2010

Event 21 of 100:  Event ID 16# 4304

STOP caused by PG stop operation or by SFB 20 "STOP"

Previous operating mode: RUN

Requested operating mode: STOP (internal)

Incoming event

03:51:09.754 PM  10/11/2010

Event 22 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

03:50:10.940 PM  10/11/2010

Event 23 of 100:  Event ID 16# 1381

Request for manual warm restart 

STOP due to: STOP caused by I/O management

Startup information:

- Startup without modified system configuration 

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up 

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

03:50:10.938 PM  10/11/2010

Event 24 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by I/O management

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

03:50:10.383 PM  10/11/2010

Event 25 of 100:  Event ID 16# 49A4

STOP: inconsistency in the configuration data

occurred when checking Parameters for internal consistency

 No consistency entries assignable

Error type: Time stamps of the loaded parameter fields do not match

Previous operating mode: STARTUP (warm restart)

Requested operating mode: STOP (internal)

External error, Incoming event

03:49:02.869 PM  10/11/2010

Event 26 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by I/O management

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered by switch setting; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered by switch setting; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

03:49:02.631 PM  10/11/2010

Event 27 of 100:  Event ID 16# 49A4

STOP: inconsistency in the configuration data

occurred when checking Parameters for internal consistency

 No consistency entries assignable

Error type: Time stamps of the loaded parameter fields do not match

Previous operating mode: STARTUP (warm restart)

Requested operating mode: STOP (internal)

External error, Incoming event

03:41:01.974 PM  10/11/2010

Event 28 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by I/O management

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered by switch setting; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered by switch setting; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

03:41:01.741 PM  10/11/2010

Event 29 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by I/O management

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

03:27:24.535 PM  10/11/2010

Event 30 of 100:  Event ID 16# 49A0

STOP caused by parameter assignment error or unpermissible difference between preset and actual configuration: startup disabled 

No relevance for user (SDB no.):      5

No relevance for user (Z2): 8f01 (Z3): 0433 

Previous operating mode: STARTUP (warm restart)

Requested operating mode: STOP (internal)

External error, Incoming event

03:17:43.402 PM  10/11/2010

Event 31 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by I/O management

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of the automatic startup type at power on:

- Automatic warm restart after backed up power on

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

03:17:42.950 PM  10/11/2010

Event 32 of 100:  Event ID 16# 5962

Parameter assignment error preventing startup in party-line parameters/communication bus parameters

Error type: Display when converting geographical address into logical address 8f01 Return code: 

Rack number:  4

Operating mode: STOP (internal)

External error, Incoming event

03:17:42.408 PM  10/11/2010

Event 33 of 100:  Event ID 16# 4358

All modules are ready for operation

Operating mode: STOP (internal)

Incoming event

03:17:41.103 PM  10/11/2010

Event 34 of 100:  Event ID 16# 4357

Module monitoring time started

Operating mode: STOP (internal)

Incoming event

03:17:36.097 PM  10/11/2010

Event 35 of 100:  Event ID 16# 4300

Power on backed up 

Previous operating mode: No voltage

Requested operating mode: STOP (own initialization)

Incoming event

03:17:34.566 PM  10/11/2010

Event 36 of 100:  Event ID 16# 494E

Power failure

Previous operating mode: STOP (internal)

Requested operating mode: No voltage

External error, Incoming event

03:13:55.720 PM  10/11/2010

Event 37 of 100:  Event ID 16# 4358

All modules are ready for operation

Operating mode: STOP (internal)

Incoming event

03:13:19.688 PM  10/11/2010

Event 38 of 100:  Event ID 16# 4357

Module monitoring time started

Operating mode: STOP (internal)

Incoming event

03:13:18.833 PM  10/11/2010

Event 39 of 100:  Event ID 16# 4548

STOP caused by I/O management

Previous operating mode: RUN

Requested operating mode: STOP (internal)

Internal error, Incoming event

03:13:18.607 PM  10/11/2010

Event 40 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of automatic startup type at power on:

- Automatic warm restart after backed up power on

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

01:44:56.404 PM  10/11/2010

Event 41 of 100:  Event ID 16# 1382

Request for automatic warm restart 

STOP due to: Power failure

Startup information:

- Startup without modified system configuration

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of the automatic startup type at power on:

- Automatic warm restart after backed up power on

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

01:44:56.402 PM  10/11/2010

Event 42 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: Power failure

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of the automatic startup type at power on:

- Automatic warm restart after backed up power on

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

01:44:55.856 PM  10/11/2010

Event 43 of 100:  Event ID 16# 4300

Power on backed up 

Previous operating mode: No voltage

Requested operating mode: STOP (own initialization)

Incoming event

01:44:52.331 PM  10/11/2010

Event 44 of 100:  Event ID 16# 494E

Power failure

Previous operating mode: RUN

Requested operating mode: No voltage

External error, Incoming event

01:44:39.484 PM  10/11/2010

Event 45 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of automatic startup type at power on:

- Automatic warm restart after backed up power on

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

01:25:25.264 PM  10/11/2010

Event 46 of 100:  Event ID 16# 1382

Request for automatic warm restart 

STOP due to: Power failure

Startup information:

- Startup without modified system configuration

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of the automatic startup type at power on:

- Automatic warm restart after backed up power on

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

01:25:25.262 PM  10/11/2010

Event 47 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: Power failure

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of the automatic startup type at power on:

- Automatic warm restart after backed up power on

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

01:25:24.716 PM  10/11/2010

Event 48 of 100:  Event ID 16# 4300

Power on backed up 

Previous operating mode: No voltage

Requested operating mode: STOP (own initialization)

Incoming event

01:25:21.190 PM  10/11/2010

Event 49 of 100:  Event ID 16# 494E

Power failure

Previous operating mode: RUN

Requested operating mode: No voltage

External error, Incoming event

01:25:10.344 PM  10/11/2010

Event 50 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of automatic startup type at power on:

- Automatic warm restart after backed up power on

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

01:22:30.334 PM  10/11/2010

Event 51 of 100:  Event ID 16# 1382

Request for automatic warm restart 

STOP due to: Power failure

Startup information:

- Startup without modified system configuration

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of the automatic startup type at power on:

- Automatic warm restart after backed up power on

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

01:22:30.332 PM  10/11/2010

Event 52 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: Power failure

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of the automatic startup type at power on:

- Automatic warm restart after backed up power on

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

01:22:29.786 PM  10/11/2010

Event 53 of 100:  Event ID 16# 4300

Power on backed up 

Previous operating mode: No voltage

Requested operating mode: STOP (own initialization)

Incoming event

01:22:26.263 PM  10/11/2010

Event 54 of 100:  Event ID 16# 494E

Power failure

Previous operating mode: RUN

Requested operating mode: No voltage

External error, Incoming event

01:14:02.409 PM  10/11/2010

Event 55 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of automatic startup type at power on:

- Automatic warm restart after backed up power on

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

07:08:46.630 PM  10/10/2010

Event 56 of 100:  Event ID 16# 1382

Request for automatic warm restart 

STOP due to: Power failure

Startup information:

- Startup without modified system configuration

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of the automatic startup type at power on:

- Automatic warm restart after backed up power on

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

07:08:46.628 PM  10/10/2010

Event 57 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: Power failure

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of the automatic startup type at power on:

- Automatic warm restart after backed up power on

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

07:08:46.081 PM  10/10/2010

Event 58 of 100:  Event ID 16# 4300

Power on backed up 

Previous operating mode: No voltage

Requested operating mode: STOP (own initialization)

Incoming event

07:08:42.557 PM  10/10/2010

Event 59 of 100:  Event ID 16# 494E

Power failure

Previous operating mode: RUN

Requested operating mode: No voltage

External error, Incoming event

07:08:31.710 PM  10/10/2010

Event 60 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of automatic startup type at power on:

- Automatic warm restart after backed up power on

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

07:00:29.120 PM  10/10/2010

Event 61 of 100:  Event ID 16# 1382

Request for automatic warm restart 

STOP due to: Power failure

Startup information:

- Startup without modified system configuration

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of the automatic startup type at power on:

- Automatic warm restart after backed up power on

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

07:00:29.118 PM  10/10/2010

Event 62 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: Power failure

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Automatic warm restart after backed up power on

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic warm restart permitted

Last valid operation or setting of the automatic startup type at power on:

- Automatic warm restart after backed up power on

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

07:00:28.572 PM  10/10/2010

Event 63 of 100:  Event ID 16# 4300

Power on backed up 

Previous operating mode: No voltage

Requested operating mode: STOP (own initialization)

Incoming event

07:00:25.050 PM  10/10/2010

Event 64 of 100:  Event ID 16# 494E

Power failure

Previous operating mode: RUN

Requested operating mode: No voltage

External error, Incoming event

07:00:14.189 PM  10/10/2010

Event 65 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

05:11:09.787 PM  10/10/2010

Event 66 of 100:  Event ID 16# 1381

Request for manual warm restart 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information:

- Startup without modified system configuration 

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up 

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

05:11:09.785 PM  10/10/2010

Event 67 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

05:11:09.221 PM  10/10/2010

Event 68 of 100:  Event ID 16# 4304

STOP caused by PG stop operation or by SFB 20 "STOP"

Previous operating mode: RUN

Requested operating mode: STOP (internal)

Incoming event

05:11:05.335 PM  10/10/2010

Event 69 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

05:10:41.014 PM  10/10/2010

Event 70 of 100:  Event ID 16# 1381

Request for manual warm restart 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information:

- Startup without modified system configuration 

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up 

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

05:10:41.012 PM  10/10/2010

Event 71 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

05:10:40.428 PM  10/10/2010

Event 72 of 100:  Event ID 16# 4304

STOP caused by PG stop operation or by SFB 20 "STOP"

Previous operating mode: RUN

Requested operating mode: STOP (internal)

Incoming event

05:10:36.488 PM  10/10/2010

Event 73 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

05:10:05.903 PM  10/10/2010

Event 74 of 100:  Event ID 16# 1381

Request for manual warm restart 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information:

- Startup without modified system configuration 

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up 

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

05:10:05.901 PM  10/10/2010

Event 75 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

05:10:05.318 PM  10/10/2010

Event 76 of 100:  Event ID 16# 4304

STOP caused by PG stop operation or by SFB 20 "STOP"

Previous operating mode: RUN

Requested operating mode: STOP (internal)

Incoming event

05:10:01.428 PM  10/10/2010

Event 77 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

05:09:19.540 PM  10/10/2010

Event 78 of 100:  Event ID 16# 1381

Request for manual warm restart 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information:

- Startup without modified system configuration 

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up 

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

05:09:19.538 PM  10/10/2010

Event 79 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

05:09:18.958 PM  10/10/2010

Event 80 of 100:  Event ID 16# 4304

STOP caused by PG stop operation or by SFB 20 "STOP"

Previous operating mode: RUN

Requested operating mode: STOP (internal)

Incoming event

05:09:15.037 PM  10/10/2010

Event 81 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

05:08:46.536 PM  10/10/2010

Event 82 of 100:  Event ID 16# 1381

Request for manual warm restart 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information:

- Startup without modified system configuration 

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up 

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

05:08:46.534 PM  10/10/2010

Event 83 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

05:08:45.975 PM  10/10/2010

Event 84 of 100:  Event ID 16# 4304

STOP caused by PG stop operation or by SFB 20 "STOP"

Previous operating mode: RUN

Requested operating mode: STOP (internal)

Incoming event

05:08:41.841 PM  10/10/2010

Event 85 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

05:08:07.291 PM  10/10/2010

Event 86 of 100:  Event ID 16# 1381

Request for manual warm restart 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information:

- Startup without modified system configuration 

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up 

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

05:08:07.289 PM  10/10/2010

Event 87 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

05:08:06.740 PM  10/10/2010

Event 88 of 100:  Event ID 16# 4304

STOP caused by PG stop operation or by SFB 20 "STOP"

Previous operating mode: RUN

Requested operating mode: STOP (internal)

Incoming event

05:08:02.868 PM  10/10/2010

Event 89 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

05:07:34.853 PM  10/10/2010

Event 90 of 100:  Event ID 16# 1381

Request for manual warm restart 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information:

- Startup without modified system configuration 

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up 

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

05:07:34.851 PM  10/10/2010

Event 91 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: STOP caused by PG stop operation or by SFB 20 "STOP"

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

05:07:34.255 PM  10/10/2010

Event 92 of 100:  Event ID 16# 4304

STOP caused by PG stop operation or by SFB 20 "STOP"

Previous operating mode: RUN

Requested operating mode: STOP (internal)

Incoming event

05:07:27.482 PM  10/10/2010

Event 93 of 100:  Event ID 16# 4302

Mode transition from STARTUP to RUN

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STARTUP (warm restart)

Requested operating mode: RUN

Incoming event

05:02:26.660 PM  10/10/2010

Event 94 of 100:  Event ID 16# 1381

Request for manual warm restart 

STOP due to: Power failure

Startup information:

- Startup without modified system configuration 

- No difference between setpoint and actual configuration

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up 

Requested OB: Startup OB (OB100)

Priority class: 27

Incoming event

05:02:26.658 PM  10/10/2010

Event 95 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: Power failure

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

05:02:26.105 PM  10/10/2010

Event 96 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: Power failure

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

04:36:36.668 PM  10/10/2010

Event 97 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: Power failure

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered by switch setting; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered by switch setting; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

04:11:38.943 PM  10/10/2010

Event 98 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: Power failure

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered by switch setting; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered by switch setting; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

03:50:52.330 PM  10/10/2010

Event 99 of 100:  Event ID 16# 4301

Mode transition from STOP to STARTUP 

STOP due to: Power failure

Startup information: 

- Time for time stamp at the last backed up power on

- Single processor operation

Current/last startup type:

- Warm restart triggered via MPI; last power on backed up

Permissibility of certain startup types: 

- Manual warm restart permitted

- Automatic startup not permitted, corrections in parameter assignment, submodule, etc. necessary

Last valid operation or setting of the automatic startup type at power on:

- Warm restart triggered via MPI; last power on backed up

Previous operating mode: STOP (internal)

Requested operating mode: STARTUP (warm restart)

Incoming event

03:50:32.505 PM  10/10/2010

Event 100 of 100:  Event ID 16# 49A0

STOP caused by parameter assignment error or unpermissible difference between preset and actual configuration: startup disabled 

No relevance for user (SDB no.):      5

No relevance for user (Z2): 8f01 (Z3): 0433 

Previous operating mode: STARTUP (warm restart)

Requested operating mode: STOP (internal)

External error, Incoming event

03:29:59.817 PM  10/10/2010

